## Slide 1: Mass Flow Sensor Integration
Team 5:
Beau Rodgers (ber13@my.fsu.edu)
Luis Mendez (lm13r@my.fsu.edu)
Brian Roberts (bpr13b@my.fsu.edu)
Keenan Cheeks (kmc11j@my.fsu.edu)
Sponsored by: Danfoss Turbocor
Advised by: Dr. Shih

## Slide 2: Developing a Project Scope
Initial scope: Determine failure modes through data analysis by implementing algorithms
First revision: Integrate a mass storage device onto the Variable Twin Turbo “VTT” compressor
Second revision: Develop a mass flow sensor to determine compressor efficiency.
Presenter: Beau Rodgers

## Slide 3: Customer needs
Need Statement: Danfoss Turbocor seeks to add value to their existing product by determining real time compressor efficiency .
Goal Statement: Design an external mass flow sensor system with the ability to measure efficiency of the “VTT” model compressor.
Presenter: Beau Rodgers
Notes: Need: Talked with rob about this technology being a niche and other competitors edging into the market. As of now turbocor does not have a way of acquiring real time data or monitoring real time efficiency of their compressor. by developing a integrated flow sensor the efficiency can be measured and provide value to the customer

## Slide 4: Objectives
Mechanically integrate a mass flow sensor
Keep the sensor compact lightweight and nonintrusive
Must be durable preferably with minimum moving parts if any
Must provide added value to the customer featuring equipment health and reliability
Presenter: Beau Rodgers

## Slide 5: Background
Turbocor is currently only able to measure efficiency on test rigs.
Probe style in line flow sensor lends itself to extensive modification of existing systems
Clamp on external flow meter is optimal to offer as an add on to existing and future customers
Figure 1: Endress-Hauser flow meter
Presenter: Beau Rodgers
Notes: Endress Hauser flow meter is 3 ft long 19” tall and would need
After propsing the external flow meter its specifications should be noted:
+- 1% accuracy

## Slide 6
Typical Turbocor compressor application is on HVAC systems incorporating chillers.
Temperature differential will be used in conjunction with mass flow of chilled water for efficiency.
Figure 2: Typical air conditioning system
Turbocor Compressor Application
Presenter: Beau Rodgers

## Slide 7: Design Concepts
Use existing ultrasonic sensors on the market for retrieving data and using our own algorithms and processing units to determine mass flow.
Use existing ultrasonic sensors with corresponding modules to determine mass flow and focus on design of clamping system and temperature differential sensors.
Possible need of an internal mass flow meter to meet desired specifications.

## Slide 8: Concept Evaluation
Not using existing data collection system would be cheaper but cause unnecessary work and complications.
An internal flow sensing device was decidedly unsatisfactory due to the extensive modifications of the existing customer platforms.
Best choice would be to use existing sensors and corresponding electronics to retrieve mass flow data and focus on a mounting apparatus.

## Slide 9: Potential Challenges
Maintaining budget
Flow measurement accuracy
Clamp versatility
Acquiring accurate temperature differences
Compatibility of systems
  The sensor component must have standard communication output language used by Turbocor

## Slide 10: Relevant Data
External Mass flow sensors will be ultrasonic.
  Narrow Beam Ultrasonic
  Wide Beam Ultrasonic
Important Parameters
  Pipe
    Diameter
    Wall thickness
    Construction
  Sensor
  Fluid
Figure 3: Narrow vs Wide Beam Sensor

## Slide 11: Ultrasonic Mass Flow Sensor
Figure 4: Wide beam sensor diagram

## Slide 12: Ultrasonic Mass Flow Sensor

## Slide 13: Future Plans
Select and order sensors and corresponding electronics.
Use said hardware dimensions to begin CAD design of mounting clamp.
Determine best sensors for temperature data collection.
  Requires specifications for existing hardware for sensors.
Process collected Temperature data
  Calculate temperature differential
  Use measured mass flow rate, temperature differential, and other parameters along with known thermodynamic and physical relations to output an efficiency

## Slide 14: House of Quality
Figure 5: House of Quality

## Slide 15: Gantt Chart
Figure 6: Gantt Chart

## Slide 16: Summary
Danfoss Turbocor seeks to add value to their existing product by determining real time compressor efficiency.
Design an external mass flow sensor system with the ability to measure efficiency of the “VTT” model compressor.

## Slide 17: References
https://www.google.com/search?q=danfoss+turbocor
http://www.us.endress.com/en/Tailor-made-field-instrumentation/Flow-measurement-product-overview
http://www.eecs.berkeley.edu/~jortiz/gridos/site/modeling.html
http://www.supertech.cn/en/tech/index2.asp