## Slide 1
Mass Flow Sensor Integration
Aim: To develop and integrate a sensor package to determine real-time compressor efficiency….
Team 5
Luis Mendez, Beau Rodgers, Keenan Cheeks, Brian Roberts
Objectives
Technical Approach
Future Work
Background
Turbocor seeks to add value to their existing product to better compete in their market.
Develop mass flow sensor package do gather information needed for efficiency calculations
Integrate system in to existing platform
Initial step towards failure prediction system
Integrate a non-intrusive mass flow sensor coupled with temperature sensors in existing ports to gather the data necessary to calculate efficiency.
System will be compatible with all Turbocor compressor systems.
Continuing testing and data analysis
Final integration into Turbocor’s existing system
Begin developing calibration curves for future failure modes analysis
Figure 3 : Sensor Installation
Figure 2 : Ultrasonic Mass Flow sensor
Figure 1: System Overview