## Slide 1
ENVIRONMENTALLY CONTROLLED TEST CHAMBER
TEAM 503
Nicholas Blenker | Tucker Hall | David Wilson

## Slide 2
Meet Team 503
Design Engineer
Systems Engineer
Controls Engineer
David Wilson
Nicholas Blenker
Tucker Hall
Tucker Hall
Team 503

## Slide 3
Sponsor & Advisor
Danfoss
FAMU-FSU College of Engineering
William Bilbow
Keith Larson
Nicholas Blenker

## Slide 4
Validate the existing design of an environmental testing chamber and deliver an assembly that regulates its internal temperature and humidity for use in a laboratory environment
Project Objective
Nicholas Blenker

## Slide 5
Danfoss Project Approval
Created a Bill of Materials
CAD and
Calculations
Project Start
2019
Project Background
Nicholas Blenker

## Slide 6
Motivation
DUCTWORK
CONTROL
VOLUME
AIR HANDLING
UNIT
CHAMBER
COMPRESSOR
TREATED AIR
RETURN AIR
Nicholas Blenker

## Slide 7
Assumptions
The test rig will rest on a flat and level surface
Conductive heat from the compressor is negligible
The size of the compressor is unchanging
The existing support has adequate load capacity
Nicholas Blenker

## Slide 8
Finalize
Implement
Validate
Key Goals
Nicholas Blenker

## Slide 9
Targets & Metrics
Support
Control
Accessibility
Nicholas Blenker

## Slide 10
Targets & Metrics
Support
Function | Target | Metric
Maintain Structural Stability | 0% | Deformation
Support Airducts and Equipment | 5 lbs | Weight
Nicholas Blenker

## Slide 11
Targets & Metrics
Function | Target | Metric
Monitor Temperature | 1°C | Temperature
Monitor Humidity |  | 
Add Heat | 10°C ≤ T ≤ 50°C | Temperature
Remove Heat |  | 
Increase Humidity | 0-95% RH | Relative Humidity
Decrease Humidity |  | 
Monitor Hot & Cold Spots | 3 sensors | Sensors
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
10°C
50°C
0%
95%
Nicholas Blenker

## Slide 12
Targets & Metrics
Function | Target | Metric
Monitor Temperature | 1°C | Temperature
Monitor Humidity |  | 
Add Heat | 10°C ≤ T ≤ 50°C | Temperature
Remove Heat |  | 
Increase Humidity | 0-95% RH | Relative Humidity
Decrease Humidity |  | 
Monitor Hot & Cold Spots | 3 sensors | Sensors
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Nicholas Blenker

## Slide 13
Targets & Metrics
Function | Target | Metric
Monitor Temperature | 1°C | Temperature
Monitor Humidity |  | 
Add Heat | 10°C ≤ T ≤ 50°C | Temperature
Remove Heat |  | 
Increase Humidity | 0-95% RH | Relative Humidity
Decrease Humidity |  | 
Monitor Hot & Cold Spots | 3 sensors | Sensors
Regulate Air Circulation | 1m3/min | Volumetric Flow Rate
Control
Nicholas Blenker

## Slide 14
Targets & Metrics
Function | Target | Metric
Allow access from all sides | 3 sides | Accessible Sides
Enable efficient exchange of compressor | 15 minutes | Time
Provide clear view of the compressor | 360° visibility | Degrees of Visibility
Provide clearance for overhead crane | 30 cm | Distance
Display Information | Yes | Display
Adjust Temperature | No human interaction | Human Interaction
Adjust Humidity |  | 
Accessibility
Nicholas Blenker

## Slide 15
Targets & Metrics
Function | Target | Metric
Allow access from all sides | 3 sides | Accessible Sides
Enable efficient exchange of compressor | 15 minutes | Time
Provide clear view of the compressor | 360° visibility | Degrees of Visibility
Provide clearance for overhead crane | 30 cm | Distance
Display Information | Yes | Display
Adjust Temperature | No human interaction | Human Interaction
Adjust Humidity |  | 
Accessibility
Nicholas Blenker

## Slide 16
Targets & Metrics
Function | Target | Metric
Allow access from all sides | 3 sides | Accessible Sides
Enable efficient exchange of compressor | 15 minutes | Time
Provide clear view of the compressor | 360° visibility | Degrees of Visibility
Provide clearance for overhead crane | 30 cm | Distance
Display Information | Yes | Display
Adjust Temperature | No human interaction | Human Interaction
Adjust Humidity |  | 
Accessibility
10°C
50°C
0%
95%
25%
40°C
Nicholas Blenker

## Slide 17
Concept Generation
Brainstorm
Biomimicry
Anti-Problem
Morphological Chart
Nicholas Blenker

## Slide 18: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 19: Medium Fidelity
Wall-Mounted AHU with Increased Wall
Thickness
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 20: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside
Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 21: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and
Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like Inner Chamber Surface
Nicholas Blenker

## Slide 22: Medium Fidelity
Wall-Mounted AHU with Duct Insulation
Wall-Mounted AHU with Increased Wall Thickness
Wall-Mounted AHU with Heater Inside Duct
Wall-Mounted AHU with Hotplate and Water Dropper Humidifier
Wall-Mounted AHU with Vein-Like
Chamber Surface
Nicholas Blenker

## Slide 23: High Fidelity
Floor-Mounted AHU with Detachable Overhead Ducts, Rubber Inserts, and a Close-Off Inside Ductwork
Wall-Mounted AHU with Detachable
Overhead Ducts, Puddy Infiltration
Seals, and Dips Inside Ductwork
Floor-Mounted AHU with Fixed Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Nicholas Blenker

## Slide 24: High Fidelity
Floor-Mounted AHU with Fixed Side
Ducts, Rubber Inserts, and Dips Inside
Ductwork
Floor-Mounted AHU with Detachable Overhead Ducts, Rubber Inserts, and a Close-Off Inside Ductwork
Wall-Mounted AHU with Detachable Overhead Ducts, Puddy Infiltration Seals, and Dips Inside Ductwork
Nicholas Blenker

## Slide 25: High Fidelity
Floor-Mounted AHU with Detachable
Overhead Ducts, Rubber Inserts, and a
Close-Off Inside Ductwork
Wall-Mounted AHU with Detachable Overhead Ducts, Puddy Infiltration Seals, and Dips Inside Ductwork
Floor-Mounted AHU with Fixed Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Nicholas Blenker

## Slide 26
Concept Selection
Pairwise Comparison
House
of Quality
Pugh
Chart
Analytical Hierarchy Chart
Q
S
S
+
-
-
-
David Wilson

## Slide 27: Concept Selection
Provide Support
Change Temp. & Humidity
Regulate Air Circ.
Provide Access
Provide Visibility
Display
Conditions
Monitor
Conditions
Automate Control
Provide Clearance
Engineering Characteristics
David Wilson

## Slide 28: Concept Selection
Pairwise Comparison
Change Temp
& Humidity
Automate
Control
Monitor
Conditions
Provide
Clearance
Regulate Air
Circulation
Provide
Support
Provide
Access
Provide
Visibility
Display
Conditions
Engineering Characteristics
House of Quality
Pairwise Comparison
Change Temp
& Humidity
Monitor
Conditions
Provide
Access
Provide
Clearance
Provide
Support
Automate
Control
Display
Conditions
Regulate Air
Circulation
Provide
Visibility
1
3
5
7
9
2
4
6
8
2
4
6
8
1
3
5
7
9
David Wilson

## Slide 29: Concept Selection
Pairwise Comparison
Change Temp
& Humidity
Automate
Control
Monitor
Conditions
Provide
Clearance
Regulate Air
Circulation
Provide
Support
Provide
Access
Provide
Visibility
Display
Conditions
Engineering Characteristics
House of Quality
Pairwise Comparison
Change Temp
& Humidity
Monitor
Conditions
Provide
Access
Provide
Clearance
Provide
Support
Automate
Control
Display
Conditions
Regulate Air
Circulation
Provide
Visibility
1
3
5
7
9
2
4
6
8
2
4
6
8
1
3
5
7
9
David Wilson

## Slide 30: Concept Selection
Pairwise Comparison
Change Temp
& Humidity
Automate
Control
Monitor
Conditions
Provide
Clearance
Regulate Air
Circulation
Provide
Support
Provide
Access
Provide
Visibility
Display
Conditions
Engineering Characteristics
House of Quality
Pairwise Comparison
Change Temp
& Humidity
Monitor
Conditions
Provide
Access
Provide
Clearance
Provide
Support
Automate
Control
Display
Conditions
Regulate Air
Circulation
Provide
Visibility
1
3
5
7
9
2
4
6
8
2
4
6
8
1
3
5
7
9
David Wilson

## Slide 31: Concept Selection
Pairwise Comparison
Pugh Chart
1
2
4
3
6
8
7
5
VS
8 Concepts
Existing Design
Top 3
VS
6
8
7
1
Least Polarizing
7: Floor-Mounted AHU with
Detachable Overhead Ducts, Rubber
Inserts, and a Close-Off Inside Ductwork
Winning Design
David Wilson

## Slide 32: Concept Selection
Pairwise Comparison
Pugh Chart
1
2
4
3
6
8
7
5
VS
8 Concepts
Existing Design
Top 3
VS
6
8
7
1
Least Polarizing
7: Floor-Mounted AHU with
Detachable Overhead Ducts, Rubber
Inserts, and a Close-Off Inside Ductwork
Winning Design
David Wilson

## Slide 33: Concept Selection
Pairwise Comparison
Pugh Chart
1
2
4
3
6
8
7
5
VS
8 Concepts
Existing Design
Top 3
VS
6
8
7
1
Least Polarizing
Floor-Mounted AHU with Fixed Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Winning Design
David Wilson

## Slide 34: Concept Selection
Analytical Hierarchy
Floor-Mounted AHU with Fixed Side Ducts, Rubber Inserts, and Dips Inside Ductwork
Wall-Mounted AHU with Detachable Overhead Ducts, Puddy Seals, and Dips Inside Ductwork
Floor-Mounted AHU with Detachable Overhead Ducts, Rubber Inserts, and Close-Off Inside Ductwork
1
2
1
3
1
2
1
3
David Wilson

## Slide 35: Final Selection
Dips Inside Ductwork
Rubber Inserts
Rubber Inserts
Dips Inside Ductwork
Fixed Side Ducts
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
.
David Wilson

## Slide 36: Final Selection
Dips Inside Ductwork
Rubber Inserts
Rubber Inserts
Dips Inside Ductwork
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
Fixed Side Ducts
David Wilson

## Slide 37: Final Selection
Dips Inside Ductwork
Rubber Inserts
Dips Inside Ductwork
Fixed Side Ducts
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
Rubber Inserts
David Wilson

## Slide 38: Final Selection
Dips Inside Ductwork
Rubber Inserts
Rubber Inserts
Fixed Side Ducts
Fixed Side Ducts
Floor-Mounted AHU
Floor-Mounted AHU
Dips Inside Ductwork
David Wilson

## Slide 39: Initial Design
Wall-Mounted AHU
Floor-Mounted AHU
Crane Outside Chamber
Crane Inside Chamber
Could use interior plexiglass
Cannot use interior
plexiglass
Things That Have Changed
David Wilson

## Slide 40: Future Work
Evaluate
Design
Project
Approval
Order
Materials
Implement Design
David Wilson

## Slide 41: Timeline
Prototype no. 1
VDR2
Bill of Materials
Risk Assessment
November
December
Fall Semester
David Wilson

## Slide 42: Timeline
Spring Semester Timeline
VDR3
CAD
Automation
VDR4
January
May
March
February
April
3D Printing
Prototype no. 2
Testing
Presentation
Spring Semester
David Wilson

## Slide 43
Functional Decomposition
Support
Control
Accessibility
Presenter

## Slide 44
Environmentally Controlled Testing Chamber
Support
Control
Accessibility
Maintains Climate Stability
Control Temperature
Maintains Structural Stability
Support Airducts and Equipment
Control Humidity
Chamber
Climate Control
Functional Decomposition
Presenter

## Slide 45
Functional Decomposition
Presenter

## Slide 46
Key Goals – SAE Standards
Presenter

## Slide 47
Cross Reference Chart
Hierarchy Flow Chart
Functional Decomposition
Presenter

## Slide 48
Color Palette

## Slide 49
Team 503 Icons

## Slide 50: Views of Chamber

## Slide 51: Logos

## Slide 52: Tool kit
Text box 1
Summary Box
Outlined Text box

## Slide 53: APA Tables
Category 1 | Category 2 | Category 3 | Category 4 | Category 5
Item 1 |  |  |  | 
Item 2 |  |  |  | 
Item 3 |  |  |  | 
Item 4 |  |  |  | 
 | Category 2 |  | Category 3 | 
Category 1 | subcategory 1 | subcategory 2 | subcategory 3 | subcategory 4
Item 1 |  |  |  | 
Item 2 |  |  |  | 
Item 3 |  |  |  | 
Item 4 |  |  |  |