## Slide 1: VDR1
Team 510

## Slide 2: Team Introduction
Ebony Bland
Emilio Manzo
Austin Bruen
Ebony Bland
Garfield Murphy
Davis Goolsby

## Slide 3: Project Scope
Davis Goolsby
Background
Markets
Key Goals
Assumptions
Stakeholders

## Slide 4: Brief Project Summary
Develop a device that is remotely controlled and can be operated to perform fuse switching operations for restoration purposes
Ebony Bland

## Slide 5: Background
Utility Fuses are used to protect equipment from damage in the event of over current
Ebony Bland
Current equipment used to perform process

## Slide 6: Key Goals
Easy Operation &
User Friendly
Fuse Switching and
Restoration
Easily Transportable
1
2
3
Davis Goolsby

## Slide 7: Markets
Municipalities
Electric Companies
Contractors
Public Safety
Construction
Davis Goolsby
Primary Markets:
Secondary Markets:

## Slide 8: Assumptions
Fuse Types
Pole Sizes
Transportation
Safe Weather Conditions
Training
Davis Goolsby

## Slide 9: Stakeholders
 | Investors | Decision-Makers | Advisers | Receivers
Sponsor | Florida Power and Light, NextEra Energy | Florida Power and Light, NextEra Energy | Scarlett Luis (Engineer at FPL) | Florida Power and Light, NextEra Energy
Manager | Scarlett Luis (Engineer at FPL) | Scarlett Luis (Engineer at FPL) | Dr. McConomy | Florida Power and Light, NextEra Energy
Experts | Florida Power and Light, NextEra Energy | Kyle Bush (FPL Project Manager) | Dr. Hruda | Florida Power and Light employed Operators
Operators | Florida Power and Light, NextEra Energy | Kyle Bush (FPL Project Manager) | Kyle Bush (FPL Project Manager) | Florida Power and Light employed Operators
Davis Goolsby

## Slide 10: Who is the customer/sponsor?
Sponsor Florida Power and Light
Linesmen
Restoration Specialists
Ebony Bland

## Slide 11
CUSTOMER NEEDS
Ebony Bland

## Slide 12
CUSTOMER NEEDS
Questions | Statements | Interpreted Needs
Intended User? | Typical users are linemen and engineers doing field work. | The device needs to be easy operate to in a field environment.
Operating Environment ? | Residential areas. Design device for ideal weather conditions | Used in safe weather conditions
Current Dimensions of the Product? | Approximately 4 feet long when fully collapsed. | Device fits inside Bucket truck for transportation
Ebony Bland

## Slide 13
CUSTOMER NEEDS
- INTERPRETED NEEDS
Ebony Bland

## Slide 14
Fuse Switching Device
Ergonomics
Transportation/ Storage
Fuse Switching Operation
Extends and retracts to desired location
Remove and replace fuse tube
Adapts to different applications
Bucket Trucks & Personal Vehicles
~4ft in Length
Ability to Collapse
Mitigates Soft Tissue Damage
Remotely-Controlled
Communication with User
Aesthetic and Minimalist Design
Functional Decomposition: Functions
Davis Goolsby

## Slide 15: Functional Decomposition: Minor Functions
Davis Goolsby
Fuse Switching Operation
Extends and retracts to desired location
Remove and replace fuse tube
Adapts to different applications

## Slide 16: Functional Decomposition: Minor Functions
Davis Goolsby
Transportation/Storage
Bucket Trucks & Personal Vehicles
~4ft in Length
Ability to Collapse

## Slide 17: Functional Decomposition: Minor Functions
Davis Goolsby
Ergonomic
Mitigates Soft Tissue Damage
Remotely-Controlled
Communication with User
Aesthetic and Minimalist Design

## Slide 18: Functional Decomposition: Smart Integration
Davis Goolsby
Performs Fuse Switching Operation
Has an Ergonomic Design
Considers Transportation/Storage
Mitigates Soft Tissue Damage
Compact Design
Ability to Extend, Retract, & Pivot
Automate Some or All of Process
Transportable by Bucket Truck & Personal Vehicle
Reach Inaccessible Area
Fuse Switching Operation
Ergonomic
Transportation
& Storage
Compact Design
Reach inaccessible
areas
Automatic Operation
Extends/Descends

## Slide 19: Future Work
Concept Generation
Concept Selection
Targets
Risk
Assessment
Bill of Materials
Spring
Plans
Davis Goolsby

## Slide 20: Questions
Davis Goolsby

## Slide 21: References
Brain, M. (n.d.). How Power Grids Work. Retrieved from Clark Science Center at Smith College: https://www.science.smith.edu/~jcardell/Courses/EGR220/ElecPwr_HSW.html#:~:text=Fuses%20must%20be%20replaced%20each,panel%20like%20the%20one%20above
Csanyi, E. (2013, January 28). How to manipulate energized conductors with hot stick. Retrieved from Electrical Engineering Portal: https://electrical-engineering-portal.com/manipulating-energized-conductors-with-hot-stick
Csanyi, E. (2020, October 12). How primary feeder, distribution transformer, fuses and service operate in radial networks. Retrieved from Electrical Engineering Portal: https://electrical-engineering-portal.com/primary-feeder-distribution-transformer-fuses-service
Eaton Corporation. (n.d.). Eaton Website. Retrieved from Fuses: fundamentals of fuses: https://www.eaton.com/us/en-us/products/medium-voltage-power-distribution-control-systems/utility-fuses/fuses--fundamentals-of-fuses.html
Hastings Hot Line Tools & Equipment. (2021, March). Hastings Catalog. Retrieved from Hastings Website: https://www.hfgp.com/fb-catalog/
King-Homan, L. (2020, August 3). How Does That Work? Hot Stick. Retrieved from The Wire: Energy news from Omaha Public Power District: https://oppdthewire.com/hot-stick-how-works-2020-oppd/
Davis Goolsby

## Slide 22: BONUS SLIDES
Davis Goolsby

## Slide 24: Functional Decomposition: Major Functions
Davis Goolsby
Hierarchy Chart
Fuse Switching Device
Ergonomics
Transportation/ Storage
Fuse switching Operation

## Slide 25: Functional Decomposition
Davis Goolsby
Considers Transportation/Storage
Bucket Trucks & Personal Vehicles
~4ft in Length
Ability to Collapse

## Slide 26: CROSS REFERENCE TABLE
Function Decomposition Cross Reference Chart |  |  | 
Function | Fuse Switching Operation | Transport & Storage | Ergonomics
Reach inaccessible areas | X | X | X
Mitigate soft tissue damage and limits physical strain |  | X | X
Can be transported by personal vehicles or bucket truck |  | X | 
Function Decomposition Cross Reference Chart |  |  | 
Function | Fuse Switching Operation | Transport & Storage | Ergonomics
Compact device design |  | X | X
Automatic operation of all or some of the fuse switching process | X |  | X
Device that can extend/retract and pivot to perform fuse switching process | X |  | 

## Slide 27
Fuse Switching Device
Ergonomics
Transportation/ Storage
Fuse Switching Operation
Extends and retracts to desired location
Remove and replace fuse tube
Adapts to different applications
Bucket Trucks & Personal Vehicles
~4ft in Length
Ability to Collapse
Mitigates Soft Tissue Damage
Remotely-Controlled
Communication with User
Aesthetic and Minimalist Design

## Slide 28: Functional Decomposition
Davis Goolsby
Performs Fuse Switching Operation
Has an Ergonomic Design
Considers Transportation/Storage
Mitigates Soft Tissue Damage
Compact Design
Ability to Extend, Retract, & Pivot
Automate Some or All of Process
Transportable by Bucket Truck & Personal Vehicle
Reach Inaccessible Area

## Slide 29: Functional Decomposition: Major Functions
Davis Goolsby
Hierarchy Chart
Fuse Switching Device
Ergonomics
Transportation/ Storage
Fuse switching Operation
Fuse Switching Device

## Slide 30: Functional Decomposition: Major Functions
Davis Goolsby
Hierarchy Chart
Fuse Switching Device
Ergonomics
Transportation/ Storage
Fuse switching Operation

## Slide 31: Functional Decomposition
Davis Goolsby
Performs Fuse Switching Operation
Extends and retracts to desired location
Remove and replace fuse tube
Adapts to different applications

## Slide 32: Functional Decomposition
Davis Goolsby
Considers Transportation/Storage
Bucket Trucks & Personal Vehicles
~4ft in Length
Ability to Collapse

## Slide 33: Functional Decomposition
Davis Goolsby
Has an Ergonomic Design
Mitigates Soft Tissue Damage
Remotely-Controlled
Communication with User
Aesthetic and Minimalist Design

## Slide 34: Functional Decomposition
Davis Goolsby
Performs Fuse Switching Operation
Has an Ergonomic Design
Considers Transportation/Storage
Mitigates Soft Tissue Damage
Compact Design
Ability to Extend, Retract, & Pivot
Automate Some or All of Process
Transportable by Bucket Truck & Personal Vehicle
Reach Inaccessible Area

## Slide 35: Future Work
Concept Generation
Concept Selection