## Slide 1: Apollo Renal Therapeutics Water Filtration Project
Team 504
Kencin Autry, Matthew Kennedy, Timothy Norman,
Lapadre Proctor, Lily Thompson

## Slide 2
Team Introductions
Lily Thompson
2
Kencin Autry
Research
Development
Engineer
Lapadre Proctor
Test and Quality
Control
Matthew Kennedy
Structural Design
And Materials
Engineer
Timothy Norman
Structural Design
And Manufacturing
Engineer
Lily Thompson
Computational
Fluids Engineer
Notes: *everything has to be in font given *Arial Black (from McConomy)
M

## Slide 3
Lily Thompson
Sponsor and Advisor
Sponsor
Gary Mishkin
CEO Apollo Renal Therapeutics
DBA Artemis Plastics
Academic Advisor
Dr. Shayne McConomy
Senior Design Professor

## Slide 4
Lily Thompson
Objective
The objective of this project is to reduce the quantity of waste-water in the dialysis process by efficiently purifying standardized filtered water and spent dialysate to ultra-pure water.
Notes: l

## Slide 5
Lily Thompson
5
Project Background
Hemodialysis is a therapy treatment for patients with end-stage kidney disease (ESKD).

## Slide 6
Lily Thompson
6
Project Background
A patient treated three times a week consumes around 24 tons of pure water per year.
A typical facility-based patient uses about 80 tons of tap water for hemodialysis.

## Slide 7
Lily Thompson
7
7
Motivation
Ultra-Pure Water
Tap Water

## Slide 8
Lily Thompson
c
c
c
8
Motivation
Ultra-Pure Water
Spent Dialysate
Ultra-Pure Water
Dialyzer

## Slide 9
Lily Thompson
9
Key Goals
Enhancing efficiency and preventing the potential hazards of large water filtration systems
Use the device at the home of patients
Recycling spent dialysate back into ultra-pure water
Filtered water will meet ultra-pure water standards

## Slide 10
Timothy Norman
Hospitals and Medical Care Facilities
At-home patients
10
Primary Markets

## Slide 11
Nursing and Retirement Care
Pharmaceuticals
City Water Treatment
Food Manufacturing
11
Secondary Markets
Timothy Norman

## Slide 12
Lily Thompson
12
Assumptions
Hemodialysis and peritoneal will be the main medical processes the system is used for
The system will only be used by one patient at a time
The incoming flow is laminar

## Slide 13
Timothy Norman
13
Customer Needs
13
13
Design requires relatively low maintenance and will last approximately 1 year
Design should fit into a space no larger than 10 in x 12 in x 5 in
Must be universally compatible
Handle a maximum flow rate of 1000 mL per minute
Produce Ultra-Pure water

## Slide 14
Timothy Norman
14
Functional Decomposition
Limiting Dimensions
Filter System
Power and Flow
Purify
Liquid Storage
Packaging
Feasibility
Connecting Voltage Source
Flow
Reducing Weight
Storing Ultra-Purified
Storing Spent Dialysate
Turning Water to Ultra-Purified
Maintenance
Storing Toxins
Compatibility
Recycling Spent Dialysate
Incoming and Outgoing
Using Universal Connector
DAQ
Transmitting Ultra-Purified to Dialyzer
Preventing Fouling
pH Level
Water Pressure and Water Speed
Software
Contaminant Detection
Inputs Given Speed and Pressure
Reading Data
Gathering Data
Hardware
Reads pH
Raising/Lowering Speed
Notes: Just focus on priority functions as defined by the cross reference chart

## Slide 15
15
Functional Decomposition
Purify
Turning Water to Ultra-Purified
Recycling Spent Dialysate
Transmitting Ultra-Purified to Dialyzer
Timothy Norman

## Slide 16
Timothy Norman
16
Functional Decomposition
Liquid Storage
Storing Ultra-Purified
Storing Spent Dialysate
Storing Toxins

## Slide 17
17
Functional Decomposition
Power and Flow
Connecting Voltage Source
Flow
Outgoing
Incoming
Timothy Norman

## Slide 18: Functional Decomposition
DAQ
pH Level
Water Pressure and Water Speed
Software
Contaminant Detection
Inputs Given Speed and Pressure
Reading Data
Gathering Data
Hardware
Reads pH
Raising/Lowering Speed
Timothy Norman

## Slide 19: Functional Decomposition
DAQ
pH Level
Water Pressure and Water Speed
Contaminant Detection
Timothy Norman

## Slide 20: Functional Decomposition
Software
Hardware
Reads pH
pH Level
DAQ
Water Pressure and Water Speed
Contaminant Detection
DAQ
Timothy Norman

## Slide 21: Functional Decomposition
Inputs Given Speed and Pressure
Gathering Data
DAQ
pH Level
Water Pressure and Water Speed
Software
Contaminant Detection
Hardware
Reads pH
Timothy Norman

## Slide 22: Functional Decomposition
DAQ
pH Level
Water Pressure and Water Speed
Software
Contaminant Detection
Hardware
Reads pH
Inputs Given Speed and Pressure
Gathering Data
Reading Flow Data
Raising and Lowering Speed
Timothy Norman

## Slide 23
23
Functional Decomposition
Limiting Dimensions
Packaging
Reducing Weight
Timothy Norman

## Slide 24: Functional Decomposition
Feasibility
Maintenance
Compatibility
Using Universal Connector
Preventing Fouling
Timothy Norman

## Slide 25
25
Future Work
Benchmarking and Secondary Dialysis Research
Concept
Selection
Concept Generation and Initial Prototyping
Concept Selection and
Sponsor Approval
Final Prototype Modeling and Preliminary Materials Research
Timothy Norman
Notes: Micheal gave some advice on what to include outside of just assignment names, this is just a format idea

## Slide 26
Thank You
LinkedIn
Kencin Autry
Matt Kennedy
Lily Thompson
Lapadre Proctor
Timothy Norman
Notes: Add groups linked in info in QR code

## Slide 27: Backup Slides

## Slide 28: Functional Decomp Priority Rating

## Slide 29: Functional Decomp Cross Reference

## Slide 30: Calculations for Laminar Flow
=
To find the velocity:
Given, by our customer, a flow rate of
1000 converted to
converted to
, indicating a Laminar Flow

## Slide 31: Standards for Ultra-Pure Water
Ultrapure water (UPW) is water that has been purified to high levels of specification:
  Extremely low total dissolved solids (TDS) level
  High electrical resistivity
  Free from chloride, sulfate, sodium, calcium, magnesium
  Minimal levels of organic contaminants, > 1 ppb

## Slide 32: What a Dialyzer Looks Like

## Slide 35: Hemodialysis and Peritoneal
Hemodialysis is ongoing dialysis (3 to 5 times a week) that cleans your blood, usually in a dialysis center. The hemodialysis access is in your arm.
Peritoneal dialysis is ongoing dialysis (daily) that collects waste from the blood by washing the empty space in the abdomen (peritoneal cavity). It can be done from home. The access for this is in your abdomen.

## Slide 36: Reasons Why
The spent dialysate is a highly saline liquid consisting of urea, creatinine, uric acid, phosphate, etc.
A major challenge for the reuse of spent dialysate is removal of urea, the main nitrogenous waste product.
Due to its small molecular weight (60 Da) and electroneutral nature, it is difficult to be removed by sorbents.
Key Drawbacks:
System complexity
High energy cost
Membrane fouling and scaling

## Slide 37: Objective
The objective of this project is to reduce the quantity of waste-water in the dialysis process by efficiently purifying standardized filtered water and spent dialysate to ultra-pure water.

## Slide 38: Project Background
Hemodialysis is a therapy treatment for patients with end-stage kidney disease (ESKD).
Notes: Give context on hemodialysis and how it operates could just be a diagram but speaker will need to be prepared
After the first bullet point talk about how the diayser in the picture acts as a kidney for the patient passing their blood through and extracting the toxins from their blood

## Slide 39: Project Background
A patient treated three times a week consumes around 24 tons of pure water per year.
A typical facility-based patient uses about 80 tons of tap water for hemodialysis.
Notes: A patient treated three times a week consumes around 24 tons of pure water per year (Nystrand, 2008).
A typical facility-based patient uses about 80 tons of tap water for hemodialysis (Agar, 2010).
Id like to put facts on this slide about how much is wasted and yeah what hemodialysis is and what the filtration system does can be explained on the next slide with the diagram

## Slide 40: Motivation
Ultra-Pure Water
Tap Water
Notes: Brown dot now on both sides

## Slide 41: Motivation
c
c
c
Ultra-Pure Water
Spent Dialysate
Ultra-Pure Water
Dialyzer
Notes: Decide on colors (show waste in filter again )

## Slide 42: Key Goals
Enhancing efficiency and preventing the potential hazards of large water filtration systems
Use the device at the home of patients
Recycling spent dialysate back into ultra-pure water
Filtered water will meet ultra-pure water standards

## Slide 43: Primary Markets
Hospitals and Medical Care Facilities
At-home patients

## Slide 44: Secondary Markets
Nursing and Retirement Care
Pharmaceuticals
City Water Treatment
Food Manufacturing

## Slide 45: Assumptions
Hemodialysis and peritoneal will be the main medical processes the system is used for
The system will only be used by one patient at a time
The flow is laminar
Notes: *not a fan of this color?

## Slide 46: Customer Needs
46
46
Design requires relatively low maintenance and will last approximately 1 year
Design should fit into a space no larger than 10 in x 12 in x 5 in
Must be universally compatible/connectable
Handle a maximum flow rate of 1000 mL per minute
Produce Ultra-Pure water

## Slide 47: Functional Decomposition
Power/Flow
Connecting Voltage Source
Flow
Outgoing
Incoming

## Slide 48: Functional Decomposition
Liquid Storage
Storing Ultra-Purified
Storing Spent Dialysate
Storing Toxins

## Slide 49: Functional Decomposition
Limiting Dimensions
Packaging
Reducing Weight

## Slide 50: Future Work
Benchmarking
Secondary Dialysate Research
Concept Generation
Sponsor Approval
Modeling
Notes: *look at more interesting cohesive design

## Slide 51
This is 10-point
This is 15–point Times
This is 20–point
This is 25–point
This is 30–point
This is 35–point
This is 40–point
This is 50–point
This is 60–point
This is 72–point
Notes: Use at least 20-point font in Room A105, B134, and B136
Use at least 25-point font in Room B135

## Slide 52
Notes: Just optional animated slide for some tiered info

## Slide 53
Blah blah blah
Blah blah blah
Blah blah blah

## Slide 55
Notes: Filter process design

## Slide 57
Thank You
Notes: Idk make prettier pls * icons go back to slide sections as shown

## Slide 58: Logos and icons

## Slide 59: College of Engineering Color Palette
Fang
Orange
RGB: 238, 118, 36
Hex: #EE7624
CMYK:2, 66, 99, 0
1 2 3 4
1 2 3 4
White
Pantone: PMS 000C
RGB: 255, 255, 255
Hex: #FFFFFF
CMYK: 0, 0, 0, 0
1 2 3 4
Black
Pantone: Black C
RGB: 0, 0, 0
Hex: #000000
CMYK:0, 0, 0, 100
Garnet
Pantone: PMS 195 C
RGB: 120, 47, 64
Hex: #782F40
CMYK:19, 90, 50, 55
1 2 3 4
Notes: Avoid 75% Black in B135

## Slide 60: Accent Color Palette
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
1 2 3 4
Turquoise
RGB: 64, 224, 208
Hex: #40E0D0
CMYK:
1 2 3 4
American Orange
RGB: 255, 139, 0
Hex: #FF8B00
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Asagi-iro
RGB: 72, 146, 155
Hex: #48929b
CMYK:
1 2 3 4
Gainsboro
RGB: 220, 220, 220
Hex: #DCDCDC
CMYK:
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Imperial
RGB: 104, 40, 96
Hex: #682860
CMYK:
1 2 3 4
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Notes: Remove American orange add hyperlink grey
Make corn the last for b135
All work in 134 imperial move later
Tardis doesn’t work in b136

## Slide 61
https://color.adobe.com/create/color-wheel
Analogous
F7AB19
D67F15
EE7624
D64615
F73119
Monochromatic
6E3610
F0A16C
EE7624
6E4931
BASB1C
Triad
A14508
4BED3B
EE7624
250CED
2010A1
Complementary
FF8C40
EE7624
0098A1
24E2ED
A1470C
Split Complementary
28A164
2FED8D
EE7624
0848A1
1871ED
Double Split Complementary
3BED93
EE7624
0C6AED
ED2F18
EDAC2F
Square
C7ED3B
EE7624
0CE1ED
A418ED
ED660C
Compound
87724A
EE7624
60EFCF
09BA61
BA7E09
Shades
6E3610
EE7624
FA7625
D46820
AD551A
Notes: These are the variants that work well with Fang Orange. The bolded items show well on the projectors.

## Slide 62
https://color.adobe.com/create/color-wheel
Analogous
85412D
8F3831
782f40
8F3176
792D85
Monochromatic
C44D69
8E626D
782F40
C48796
451B25
Triad
C43959
78743B
782F40
236178
43A2C4
Complementary
C46078
782F40
25C43D
2F783A
C43959
Split Complementary
93C460
577835
782F40
39C49D
297861
Double Split Complementary
5A783B
782F40
237860
6E2978
784435
Square
78683b
782F40
237830
293978
782337
Compound
DEBAAF
782F40
5D8555
70AB32
AB4D32
Shades
C44D69
782F40
853447
5E2532
38161E

## Slide 63
B135 Stage Right
A105
A105
B135 Stage Left
B135
B134, A105
B136

## Slide 69: Citations
blood dialysis by Andy Horvath from <a href="https://thenounproject.com/browse/icons/term/blood-dialysis/" target="_blank" title="blood dialysis Icons">Noun Project</a> (CC BY 3.0)
Kidney by Febrian Hidayat from <a href="https://thenounproject.com/browse/icons/term/kidney/" target="_blank" title="Kidney Icons">Noun Project</a> (CC BY 3.0)
Dialysis Machine by bsd studio from <a href="https://thenounproject.com/browse/icons/term/dialysis-machine/" target="_blank" title="Dialysis Machine Icons">Noun Project</a> (CC BY 3.0)
Dialysis Machine by Gan Khoon Lay from <a href="https://thenounproject.com/browse/icons/term/dialysis-machine/" target="_blank" title="Dialysis Machine Icons">Noun Project</a> (CC BY 3.0)
filter by Smalllike from <a href="https://thenounproject.com/browse/icons/term/filter/" target="_blank" title="filter Icons">Noun Project</a> (CC BY 3.0)
filter by Kiran Shastry from <a href="https://thenounproject.com/browse/icons/term/filter/" target="_blank" title="filter Icons">Noun Project</a> (CC BY 3.0)
filter by Kiran Shastry from <a href="https://thenounproject.com/browse/icons/term/filter/" target="_blank" title="filter Icons">Noun Project</a> (CC BY 3.0)
Waste by lastspark from <a href="https://thenounproject.com/browse/icons/term/waste/" target="_blank" title="Waste Icons">Noun Project</a> (CC BY 3.0)
Waste by lastspark from <a href="https://thenounproject.com/browse/icons/term/waste/" target="_blank" title="Waste Icons">Noun Project</a> (CC BY 3.0)
Adapter by mynamepong from <a href="https://thenounproject.com/browse/icons/term/adapter/" target="_blank" title="Adapter Icons">Noun Project</a> (CC BY 3.0)
Outlet by Darrin Loeliger from <a href="https://thenounproject.com/browse/icons/term/outlet/" target="_blank" title="Outlet Icons">Noun Project</a> (CC BY 3.0)
Water Filter by I Putu Dicky Adi Pranatha from <a href="https://thenounproject.com/browse/icons/term/water-filter/" target="_blank" title="Water Filter Icons">Noun Project</a> (CC BY 3.0)
Water Filter by Phonlaphat Thongsriphong from <a href="https://thenounproject.com/browse/icons/term/water-filter/" target="_blank" title="Water Filter Icons">Noun Project</a> (CC BY 3.0)
water treatment by Soremba from <a href="https://thenounproject.com/browse/icons/term/water-treatment/" target="_blank" title="water treatment Icons">Noun Project</a> (CC BY 3.0)
water treatment by Soremba from <a href="https://thenounproject.com/browse/icons/term/water-treatment/" target="_blank" title="water treatment Icons">Noun Project</a> (CC BY 3.0)
Faucet by Uswa KDT from <a href="https://thenounproject.com/browse/icons/term/faucet/" target="_blank" title="Faucet Icons">Noun Project</a> (CC BY 3.0)
IV Bag by Ralf Schmitzer from <a href="https://thenounproject.com/browse/icons/term/iv-bag/" target="_blank" title="IV Bag Icons">Noun Project</a> (CC BY 3.0)
Reservoir by Adrien Coquet from <a href="https://thenounproject.com/browse/icons/term/reservoir/" target="_blank" title="Reservoir Icons">Noun Project</a> (CC BY 3.0)

## Slide 70: Citations
R. Nystrand Microbiology of water and fluids for hemodialysis J. Chin. Med. Assoc., 71 (5) (2008), pp. 223-229
J.W.M. Agar Conserving water in and applying solar power to haemodialysis: ’Green Dialysis’ through wiser resource utilization Nephrology, 15 (4) (2010), pp. 448-453
https://www.umms.org/ummc/health-services/kidney/dialysis/types#:~:text=Hemodialysis%20is%20ongoing%20dialysis%20(3,can%20be%20done%20from%20home.