## Slide 1: Apollo Renal Therapeutics Water Filtration Project
Team 504
Kencin Autry, Matthew Kennedy, Timothy Norman,
Lapadre Proctor, Lily Thompson

## Slide 2
Team Introductions
Lily Thompson
2
Kencin Autry
Research
Development
Engineer
Lapadre Proctor
Test and Quality
Control Engineer
Matthew Kennedy
Structural Design
And Materials
Engineer
Timothy Norman
Structural Design
And Manufacturing
Engineer
Lily Thompson
Computational
Fluids Engineer

## Slide 3
Lily Thompson
Sponsor and Advisor
Sponsor
Gary Mishkin
CEO Apollo Renal Therapeutics
DBA Artemis Plastics
Academic Advisor
Dr. Shayne McConomy
Senior Design Professor
Academic Advisor
Dr. Rebekah Sweat
Assistant Professor

## Slide 4
Lily Thompson
Objective
The objective of this project is to reduce the quantity of waste-water in the dialysis process by efficiently purifying standardized filtered water and spent dialysate to ultra-pure water.
Notes: l

## Slide 5
Lily Thompson
5
Project Background
Hemodialysis is a therapy treatment for patients with end-stage kidney disease (ESKD).

## Slide 6
Lily Thompson
6
Hemodialysis Process

## Slide 7
7
Key Goals
Enhancing efficiency and preventing the potential hazards of large water filtration systems
Use the device at the home of patients
Recycling spent dialysate back into ultra-pure water
Filtered water will meet ultra-pure water standards
Lily Thompson

## Slide 8
Lily Thompson
8
Customer Needs
8
8
Design requires relatively low maintenance and will last approximately 1 year
Design should fit into a space no larger than 10 in x 12 in x 5 in
Must be universally compatible
Handle a maximum flow rate of 1000 mL per minute
Produce Ultra-Pure water

## Slide 9: Critical Targets and Metrics
Purify Water
Recycle Spent Dialysate
Ergonomic Compatibility
Raise and Lower Flow Rate
< 0 ppm TDS
75% Efficiency
10 x 12 x 5 in
100 – 1000 mL per minute
Lily Thompson

## Slide 10: Concept Generation
Secondary Dialyzer
Lego Sorter
Nanofiltration and Reverse Osmosis
Chemical Coagulant
Nanofiltration
Lily Thompson
Notes: Do we wanna include all of this???

## Slide 11: High-Fidelity
Carbon Nanotube and Ultrasonics
Forward Osmosis
Gaseous Ozone
Lily Thompson

## Slide 12: Carbon Nanotube and Ultrasonics
Lily Thompson

## Slide 13: Final Concept
Lily Thompson
Reverse Osmosis (RO)
Nano-Filtration (CNTs)

## Slide 14: “Bucky paper” Production
Not capable of vertical alignment in the membrane
Variable thickness, but not in diameter
Can differ the density of CNTs
Kencin Autry
Notes: * May animate the process instead

## Slide 15: Bucky Paper CNT Film
MWCNT Film
SWCNT Film
Combination
Evaluating varying Bucky paper thicknesses with Dr. Sweat
Kencin Autry

## Slide 16
Kencin Autry
RO System
Filtered
Water Runoff
Check Valves
Primary Pump
CNT Filter
Spent Dialysate Runoff

## Slide 17: RO System
Claims to remove 99% of contaminants for drinking water standards
Filters last 12 – 24 months
Incoming water must be between 14.5 and 58 psi
Filters at 1590 mL per minute
Will have to adapt to two water inputs
Kencin Autry
Notes: Should we go into the individual components?

## Slide 18: Primary Pump
24V Stepper motor
Silicone tube,7.9mm ID × 11.1mm OD
Flow Rate of 1600ml/min
Ambient temperature 0-40℃
Relative humidity <80%
Reduction ratio 1:20
Kencin Autry
Notes: Should we go into the individual components?

## Slide 19: Initial vs Future Filter Prototype
CNT Membrane
Ultrasonic Generator
Surrounding Shell
Kencin Autry

## Slide 20: Testing Methods
Potassium: K
Calcium: Ca
Magnesium: Mg
Chlorine: Cl
Sodium: Na
Sodium: Na
Bicarbonate: HCO3
Kencin Autry
Notes: *thoughts on needing to mention this in terms of simulating dialysate

## Slide 21: Testing Methods
TDS : 0 – 19.99 ppt
Conductivity
Water Temp
pH
Filtered Water
Kencin Autry
Notes: https://www.grainger.com/product/EXTECH-Conductivity-Meter-38W993

## Slide 22: Testing Methods
Filtered Water
Kencin Autry
Notes: Urea raises the pH and

## Slide 23
23
Future Work
Develop CNT Membrane and Housing
Concept
Selection
Testing and Verification of Water Quality
Connect Piping and Water System
Testing and Verification of
Fluid Flow
Kencin Autry

## Slide 24
Thank You
LinkedIn
Kencin Autry
Matt Kennedy
Lily Thompson
Lapadre Proctor
Timothy Norman
Notes: Add groups linked in info in QR code

## Slide 25: Backup Slides

## Slide 26: Ultra-Pure Standards Table

## Slide 27: Contaminants Found in Tap Water

## Slide 28: Standards for Ultra-Pure Water
Ultrapure water (UPW) is water that has been purified to high levels of specification:
  Extremely low total dissolved solids (TDS) level
  High electrical resistivity
  Free from chloride, sulfate, sodium, calcium, magnesium
  Minimal levels of organic contaminants, > 1 ppb

## Slide 29: Targets and Metrics Table

## Slide 30: Concept Selection
Concept | Alternative Value
Nano-filtration and Reverse Osmosis | 0.247
Nano-filtration | 0.382
Forward Osmosis | 0.382
Analytical Hierarchy Process
Matt Kennedy

## Slide 31: Nasa CNT and Ultrasonic Patent

## Slide 32: Functional Decomp Priority Rating

## Slide 33: Functional Decomp Cross Reference

## Slide 34: Calculations for Laminar Flow
=
To find the velocity:
Given, by our customer, a flow rate of
1000 converted to
converted to
, indicating a Laminar Flow

## Slide 35: What a Dialyzer Looks Like

## Slide 38: Hemodialysis and Peritoneal
Hemodialysis is ongoing dialysis (3 to 5 times a week) that cleans your blood, usually in a dialysis center. The hemodialysis access is in your arm.
Peritoneal dialysis is ongoing dialysis (daily) that collects waste from the blood by washing the empty space in the abdomen (peritoneal cavity). It can be done from home. The access for this is in your abdomen.

## Slide 39: Reasons Why
The spent dialysate is a highly saline liquid consisting of urea, creatinine, uric acid, phosphate, etc.
A major challenge for the reuse of spent dialysate is removal of urea, the main nitrogenous waste product.
Due to its small molecular weight (60 Da) and electroneutral nature, it is difficult to be removed by sorbents.
Key Drawbacks:
System complexity
High energy cost
Membrane fouling and scaling

## Slide 40: Current System Schematic
Kencin Autry
Dialysis Machine
Water Supply
Ultra-Pure Runoff
Dialysate Runoff
Filter
Notes: *include specific parts we’ve ordered
Water supply will need to include the RO system
Filter will need to to be the CNT membrane
Pumps and piping being used

## Slide 41
Timothy Norman
Hospitals and Medical Care Facilities
At-home patients
41
Primary Markets

## Slide 42
Nursing and Retirement Care
Pharmaceuticals
City Water Treatment
Food Manufacturing
42
Secondary Markets
Timothy Norman

## Slide 44
This is 10-point
This is 15–point Times
This is 20–point
This is 25–point
This is 30–point
This is 35–point
This is 40–point
This is 50–point
This is 60–point
This is 72–point
Notes: Use at least 20-point font in Room A105, B134, and B136
Use at least 25-point font in Room B135

## Slide 46
Notes: Filter process design

## Slide 48
Lily Thompson
48
Assumptions
Hemodialysis and peritoneal will be the main medical processes the system is used for
The system will only be used by one patient at a time
The incoming flow is laminar

## Slide 49: College of Engineering Color Palette
Fang
Orange
RGB: 238, 118, 36
Hex: #EE7624
CMYK:2, 66, 99, 0
1 2 3 4
1 2 3 4
White
Pantone: PMS 000C
RGB: 255, 255, 255
Hex: #FFFFFF
CMYK: 0, 0, 0, 0
1 2 3 4
Black
Pantone: Black C
RGB: 0, 0, 0
Hex: #000000
CMYK:0, 0, 0, 100
Garnet
Pantone: PMS 195 C
RGB: 120, 47, 64
Hex: #782F40
CMYK:19, 90, 50, 55
1 2 3 4
Notes: Avoid 75% Black in B135

## Slide 50: Accent Color Palette
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
1 2 3 4
Turquoise
RGB: 64, 224, 208
Hex: #40E0D0
CMYK:
1 2 3 4
American Orange
RGB: 255, 139, 0
Hex: #FF8B00
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Asagi-iro
RGB: 72, 146, 155
Hex: #48929b
CMYK:
1 2 3 4
Gainsboro
RGB: 220, 220, 220
Hex: #DCDCDC
CMYK:
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Imperial
RGB: 104, 40, 96
Hex: #682860
CMYK:
1 2 3 4
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Notes: Remove American orange add hyperlink grey
Make corn the last for b135
All work in 134 imperial move later
Tardis doesn’t work in b136

## Slide 51
https://color.adobe.com/create/color-wheel
Analogous
F7AB19
D67F15
EE7624
D64615
F73119
Monochromatic
6E3610
F0A16C
EE7624
6E4931
BASB1C
Triad
A14508
4BED3B
EE7624
250CED
2010A1
Complementary
FF8C40
EE7624
0098A1
24E2ED
A1470C
Split Complementary
28A164
2FED8D
EE7624
0848A1
1871ED
Double Split Complementary
3BED93
EE7624
0C6AED
ED2F18
EDAC2F
Square
C7ED3B
EE7624
0CE1ED
A418ED
ED660C
Compound
87724A
EE7624
60EFCF
09BA61
BA7E09
Shades
6E3610
EE7624
FA7625
D46820
AD551A
Notes: These are the variants that work well with Fang Orange. The bolded items show well on the projectors.

## Slide 52
https://color.adobe.com/create/color-wheel
Analogous
85412D
8F3831
782f40
8F3176
792D85
Monochromatic
C44D69
8E626D
782F40
C48796
451B25
Triad
C43959
78743B
782F40
236178
43A2C4
Complementary
C46078
782F40
25C43D
2F783A
C43959
Split Complementary
93C460
577835
782F40
39C49D
297861
Double Split Complementary
5A783B
782F40
237860
6E2978
784435
Square
78683b
782F40
237830
293978
782337
Compound
DEBAAF
782F40
5D8555
70AB32
AB4D32
Shades
C44D69
782F40
853447
5E2532
38161E

## Slide 53
B135 Stage Right
A105
A105
B135 Stage Left
B135
B134, A105
B136

## Slide 59: Logos and icons

## Slide 60: Citations
blood dialysis by Andy Horvath from <a href="https://thenounproject.com/browse/icons/term/blood-dialysis/" target="_blank" title="blood dialysis Icons">Noun Project</a> (CC BY 3.0)
Kidney by Febrian Hidayat from <a href="https://thenounproject.com/browse/icons/term/kidney/" target="_blank" title="Kidney Icons">Noun Project</a> (CC BY 3.0)
Dialysis Machine by bsd studio from <a href="https://thenounproject.com/browse/icons/term/dialysis-machine/" target="_blank" title="Dialysis Machine Icons">Noun Project</a> (CC BY 3.0)
Dialysis Machine by Gan Khoon Lay from <a href="https://thenounproject.com/browse/icons/term/dialysis-machine/" target="_blank" title="Dialysis Machine Icons">Noun Project</a> (CC BY 3.0)
filter by Smalllike from <a href="https://thenounproject.com/browse/icons/term/filter/" target="_blank" title="filter Icons">Noun Project</a> (CC BY 3.0)
filter by Kiran Shastry from <a href="https://thenounproject.com/browse/icons/term/filter/" target="_blank" title="filter Icons">Noun Project</a> (CC BY 3.0)
filter by Kiran Shastry from <a href="https://thenounproject.com/browse/icons/term/filter/" target="_blank" title="filter Icons">Noun Project</a> (CC BY 3.0)
Waste by lastspark from <a href="https://thenounproject.com/browse/icons/term/waste/" target="_blank" title="Waste Icons">Noun Project</a> (CC BY 3.0)
Waste by lastspark from <a href="https://thenounproject.com/browse/icons/term/waste/" target="_blank" title="Waste Icons">Noun Project</a> (CC BY 3.0)
Adapter by mynamepong from <a href="https://thenounproject.com/browse/icons/term/adapter/" target="_blank" title="Adapter Icons">Noun Project</a> (CC BY 3.0)
Outlet by Darrin Loeliger from <a href="https://thenounproject.com/browse/icons/term/outlet/" target="_blank" title="Outlet Icons">Noun Project</a> (CC BY 3.0)
Water Filter by I Putu Dicky Adi Pranatha from <a href="https://thenounproject.com/browse/icons/term/water-filter/" target="_blank" title="Water Filter Icons">Noun Project</a> (CC BY 3.0)
Water Filter by Phonlaphat Thongsriphong from <a href="https://thenounproject.com/browse/icons/term/water-filter/" target="_blank" title="Water Filter Icons">Noun Project</a> (CC BY 3.0)
water treatment by Soremba from <a href="https://thenounproject.com/browse/icons/term/water-treatment/" target="_blank" title="water treatment Icons">Noun Project</a> (CC BY 3.0)
water treatment by Soremba from <a href="https://thenounproject.com/browse/icons/term/water-treatment/" target="_blank" title="water treatment Icons">Noun Project</a> (CC BY 3.0)
Faucet by Uswa KDT from <a href="https://thenounproject.com/browse/icons/term/faucet/" target="_blank" title="Faucet Icons">Noun Project</a> (CC BY 3.0)
IV Bag by Ralf Schmitzer from <a href="https://thenounproject.com/browse/icons/term/iv-bag/" target="_blank" title="IV Bag Icons">Noun Project</a> (CC BY 3.0)
Reservoir by Adrien Coquet from <a href="https://thenounproject.com/browse/icons/term/reservoir/" target="_blank" title="Reservoir Icons">Noun Project</a> (CC BY 3.0)

## Slide 61: Citations
R. Nystrand Microbiology of water and fluids for hemodialysis J. Chin. Med. Assoc., 71 (5) (2008), pp. 223-229
J.W.M. Agar Conserving water in and applying solar power to haemodialysis: ’Green Dialysis’ through wiser resource utilization Nephrology, 15 (4) (2010), pp. 448-453
https://www.umms.org/ummc/health-services/kidney/dialysis/types#:~:text=Hemodialysis%20is%20ongoing%20dialysis%20(3,can%20be%20done%20from%20home.