## Slide 1: Design Review 4
Team 513
Automated Shaft Flux Measurement Device

## Slide 2: Team Introductions
Andrew Atallah
Hardware & Software
Engineer
Liora Louis
Materials &
Test Engineer
Sean Hemstreet
Design Engineer
Joshua Huls
Systems Engineer
Joshua Huls

## Slide 3: Sponsor and Advisor
Engineering Mentor
Cole Gray
Mechanical Design Engineer
Academic Advisor
Dr. Shayne McConomy
Senior Design Professor
Engineering Mentor
William Bilbow
Director of Technology & Project Manager
Joshua Huls

## Slide 4: Objective
The objective of this project is to design a device that will be capable of fully measuring and recording the magnetic flux of compressor shafts in an automated way that allows for accurate measurements, repeatability, and less overall firsthand work for the operator.
Joshua Huls

## Slide 5: Key Goals
Automation
Consistency
Adaptability
Accuracy
Joshua Huls

## Slide 6: Assumptions
Device is used over a period of 3 months per year.
MATLAB or an open-source software.
Given one working fluxmeter and sensor.
Testing will be performed at Danfoss.
Operator will be able to lift the shaft onto device.
Joshua Huls

## Slide 7: Targets and Metrics
Secures Sample
Repeatability
Structural Durability
Data Transfer
Resolution (5mm)
Joshua Huls

## Slide 8: Selected Design
Reliable Measurement Feedback
Consistent Measurements
Measures Entire Region
Secures and Levels Samples
Adaptable
Horizontal Lathe
Joshua Huls

## Slide 9: Design Overview
Liora Louis

## Slide 10
Liora Louis
Rotational System

## Slide 11
Liora Louis
Rotational System

## Slide 12
Liora Louis
Linear System

## Slide 13
Liora Louis
Linear System

## Slide 14
Liora Louis
Electrical System

## Slide 15
Liora Louis
Linear Actuator

## Slide 16
Liora Louis
Flux Meter Probe

## Slide 17
Liora Louis

## Slide 18: Data Collection
Fluxmeter can be remotely controlled with a computer
Computer application provided that allows automatic logging
Testing shows sensor probe does NOT need to be in contact with shaft, but it must be close
Liora Louis

## Slide 19: Path of the Sensor
Sensor
Length
Circumference
Liora Louis
The flux meter will take measurements at specified time intervals based on the desired resolution.

## Slide 20: Bill of Materials
Liora Louis
Linear Actuator
Mechanical Components
Electronic Components
Parts Ordered
Notes: Wood router 4th axis (chuck head, live center, motor with gear belt)

## Slide 21: User Operation
Liora Louis
Loading Sample
Verify Level
Set Measurement Parameters
Start

## Slide 22: Device Operation
Liora Louis
Motors move probe into position
Fluxmeter reads flux
Data records to Excel table
Data point is plotted on graph

## Slide 23: Future Work
Complete Purchasing
Start Assembly of Device
Begin Coding Arduino
Preliminary Testing
Liora Louis

## Slide 24
This is 10-point
This is 15–point Times
This is 20–point
This is 25–point
This is 30–point
This is 35–point
This is 40–point
This is 50–point
This is 60–point
This is 72–point
Notes: Use at least 20-point font in Room A105, B134, and B136
Use at least 25-point font in Room B135

## Slide 25: College of Engineering Color Palette
Fang
Orange
RGB: 238, 118, 36
Hex: #EE7624
CMYK:2, 66, 99, 0
1 2 3 4
1 2 3 4
White
Pantone: PMS 000C
RGB: 255, 255, 255
Hex: #FFFFFF
CMYK: 0, 0, 0, 0
1 2 3 4
Black
Pantone: Black C
RGB: 0, 0, 0
Hex: #000000
CMYK:0, 0, 0, 100
Garnet
Pantone: PMS 195 C
RGB: 120, 47, 64
Hex: #782F40
CMYK:19, 90, 50, 55
1 2 3 4
Notes: Avoid 75% Black in B135

## Slide 26: Accent Color Palette
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
1 2 3 4
Turquoise
RGB: 64, 224, 208
Hex: #40E0D0
CMYK:
1 2 3 4
American Orange
RGB: 255, 139, 0
Hex: #FF8B00
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Asagi-iro
RGB: 72, 146, 155
Hex: #48929b
CMYK:
1 2 3 4
Gainsboro
RGB: 220, 220, 220
Hex: #DCDCDC
CMYK:
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Imperial
RGB: 104, 40, 96
Hex: #682860
CMYK:
1 2 3 4
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Notes: Remove American orange add hyperlink grey
Make corn the last for b135
All work in 134 imperial move later
Tardis doesn’t work in b136

## Slide 27
https://color.adobe.com/create/color-wheel
Analogous
F7AB19
D67F15
EE7624
D64615
F73119
Monochromatic
6E3610
F0A16C
EE7624
6E4931
BASB1C
Triad
A14508
4BED3B
EE7624
250CED
2010A1
Complementary
FF8C40
EE7624
0098A1
24E2ED
A1470C
Split Complementary
28A164
2FED8D
EE7624
0848A1
1871ED
Double Split Complementary
3BED93
EE7624
0C6AED
ED2F18
EDAC2F
Square
C7ED3B
EE7624
0CE1ED
A418ED
ED660C
Compound
87724A
EE7624
60EFCF
09BA61
BA7E09
Shades
6E3610
EE7624
FA7625
D46820
AD551A
Notes: These are the variants that work well with Fang Orange. The bolded items show well on the projectors.

## Slide 28
https://color.adobe.com/create/color-wheel
Analogous
85412D
8F3831
782f40
8F3176
792D85
Monochromatic
C44D69
8E626D
782F40
C48796
451B25
Triad
C43959
78743B
782F40
236178
43A2C4
Complementary
C46078
782F40
25C43D
2F783A
C43959
Split Complementary
93C460
577835
782F40
39C49D
297861
Double Split Complementary
5A783B
782F40
237860
6E2978
784435
Square
78683b
782F40
237830
293978
782337
Compound
DEBAAF
782F40
5D8555
70AB32
AB4D32
Shades
C44D69
782F40
853447
5E2532
38161E

## Slide 29
B135 Stage Right
A105
A105
B135 Stage Left
B135
B134, A105
B136