## Slide 1: Automated Flux Reader (AFR)
Team 513
April 4, 2024

## Slide 2: Team Introductions
Andrew Atallah
Hardware & Software
Engineer
Liora Louis
Materials &
Test Engineer
Sean Hemstreet
Design Engineer
Joshua Huls
Systems Engineer
Liora Louis

## Slide 3: Sponsor and Advisor
Engineering Mentor
William Bilbow
Director of Technology & Project Manager
Engineering Mentor
Cole Gray
Mechanical Design Engineer
Liora Louis

## Slide 4: Objective
The objective of this project is to design a device that will be capable of fully measuring and recording the magnetic flux of compressor shafts in an automated way that allows for accurate measurements, repeatability, and less overall firsthand work for the operator.
Liora Louis

## Slide 5: Background
Liora Louis
Compressors deliver high efficiency and low sound levels
Oil-free magnetic bearing
Previous manual method was inconsistent and work intensive

## Slide 6: Key Goals
Automation
Consistency
Adaptability
Accuracy
Liora Louis

## Slide 7: Assumptions
Open-source software.
Given one working fluxmeter and sensor.
Testing can be performed at Danfoss.
Operator will be able to load shaft onto device.
Liora Louis
Device will be used infrequently.

## Slide 8: Targets and Metrics
Secures Sample
Resolution (5mm)
Data Transfer
Structural Durability
Repeatability
Liora Louis

## Slide 9: Concept Generation
Anti-Problem
Biomimicry
Brainstorming
Crapshoot
Forced Analogy
Liora Louis
An in-depth process involving multiple team meetings in which team members produced design ideas together and discussed individuals' ideas as a team to compile a list of wildly varying designs.

## Slide 10: Concept Selection
Binary Pairwise Comparison
House of Quality (HoQ)
Pugh Charts
Analytical Hierarchy Process (AHP)
Liora Louis

## Slide 11: Selected Concept
Horizontal Lathe
Reliable Feedback
Consistent Measurements
Measures Entire Region
Secures and Levels Sample
Adaptable
Sean Hemstreet

## Slide 12: Initial Design
Two Triangle Bracket Supports
1
Custom Chuck Head Assembly
2
Live Center
3
Tracks to Move the Brackets
4
Linear Guide Rail
5
Design Elements
Sean Hemstreet

## Slide 13: Second Design Iteration
Sean Hemstreet
3-Inch Aluminum Blocks

## Slide 14: Second Design Iteration
Sean Hemstreet
Wheel for Adjustability
Singular Lever Lock

## Slide 15: Second Design Iteration
Sean Hemstreet
Stepper Motor
Chuck Head
Gear Belt

## Slide 16: Final Design Iteration
Sean Hemstreet

## Slide 17: Final Design Iteration
Sean Hemstreet
Gear Belt Cover

## Slide 18: Final Design Iteration
Sean Hemstreet
0.5-Inch Aluminum Blocks
Measuring Top of Shaft

## Slide 19: Fluxmeter Probe Housing
Joshua Huls
Hinge for moving probe out of way during specimen loading
Notes: 2 positions, open and closed to move the sensitive and delicate sensor probe out of the way when loading

## Slide 20: Fluxmeter Probe Housing
Joshua Huls
Probe rest to reinforce sensor probe angle
Notes: 2 positions, open and closed to move the sensitive and delicate sensor probe out of the way when loading

## Slide 21: Fluxmeter Probe Housing
Joshua Huls
Adjustable height for use with VT or TT series shafts
Notes: 2 positions, open and closed to move the sensitive and delicate sensor probe out of the way when loading

## Slide 22: Operation
Andrew Atallah
Electronics Connected
User selects the type of shaft being measured
Shaft is loaded via crane
Click Start
User opens the computer application

## Slide 23: Computer Application
Andrew Atallah
Send
Measure
Sleep
Graph

## Slide 24: Arduino Program
Andrew Atallah
“RIGHT” Signal
Moves Platform
5 mm
“ROTATE” Signal
Rotates Shaft
5 mm
“LEFT” Signal
Moves Platform
5 mm

## Slide 25: Hardware Setup
Andrew Atallah
Stepper Motor
Motor Driver
Power Supply
Set-up Sensors and
Switches
Motor Driver
Stepper Motor

## Slide 26: Testing and Validation
Andrew Atallah

## Slide 27: Budget
Remaining Budget
Money Spent
Structural Components
Electronics
Andrew Atallah
Chart: 
| Remaining | Spent | Structural Components | Electronics
 | 9583.4968 | 1701.777 | 714.7262
$9,600
$2,400
$1,700
$700

## Slide 28: Lessons Learned
Planning ahead is important
Be prepared for setbacks
Keep moving
Ensure parts ordered fit
Joshua Huls

## Slide 29: Automated Flux Reader
Andrew Atallah
Sean Hemstreet
Joshua Huls
Liora Louis
Joshua Huls
aatallah@fsu.edu
sph19@fsu.edu
jth18b@fsu.edu
llouis@fsu.edu

## Slide 30
This is 10-point
This is 15–point Times
This is 20–point
This is 25–point
This is 30–point
This is 35–point
This is 40–point
This is 50–point
This is 60–point
This is 72–point
Notes: Use at least 20-point font in Room A105, B134, and B136
Use at least 25-point font in Room B135

## Slide 31: College of Engineering Color Palette
Fang
Orange
RGB: 238, 118, 36
Hex: #EE7624
CMYK:2, 66, 99, 0
1 2 3 4
1 2 3 4
White
Pantone: PMS 000C
RGB: 255, 255, 255
Hex: #FFFFFF
CMYK: 0, 0, 0, 0
1 2 3 4
Black
Pantone: Black C
RGB: 0, 0, 0
Hex: #000000
CMYK:0, 0, 0, 100
Garnet
Pantone: PMS 195 C
RGB: 120, 47, 64
Hex: #782F40
CMYK:19, 90, 50, 55
1 2 3 4
Notes: Avoid 75% Black in B135

## Slide 32: Accent Color Palette
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
1 2 3 4
Turquoise
RGB: 64, 224, 208
Hex: #40E0D0
CMYK:
1 2 3 4
American Orange
RGB: 255, 139, 0
Hex: #FF8B00
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Asagi-iro
RGB: 72, 146, 155
Hex: #48929b
CMYK:
1 2 3 4
Gainsboro
RGB: 220, 220, 220
Hex: #DCDCDC
CMYK:
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Imperial
RGB: 104, 40, 96
Hex: #682860
CMYK:
1 2 3 4
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Notes: Remove American orange add hyperlink grey
Make corn the last for b135
All work in 134 imperial move later
Tardis doesn’t work in b136

## Slide 33
https://color.adobe.com/create/color-wheel
Analogous
F7AB19
D67F15
EE7624
D64615
F73119
Monochromatic
6E3610
F0A16C
EE7624
6E4931
BASB1C
Triad
A14508
4BED3B
EE7624
250CED
2010A1
Complementary
FF8C40
EE7624
0098A1
24E2ED
A1470C
Split Complementary
28A164
2FED8D
EE7624
0848A1
1871ED
Double Split Complementary
3BED93
EE7624
0C6AED
ED2F18
EDAC2F
Square
C7ED3B
EE7624
0CE1ED
A418ED
ED660C
Compound
87724A
EE7624
60EFCF
09BA61
BA7E09
Shades
6E3610
EE7624
FA7625
D46820
AD551A
Notes: These are the variants that work well with Fang Orange. The bolded items show well on the projectors.

## Slide 34
https://color.adobe.com/create/color-wheel
Analogous
85412D
8F3831
782f40
8F3176
792D85
Monochromatic
C44D69
8E626D
782F40
C48796
451B25
Triad
C43959
78743B
782F40
236178
43A2C4
Complementary
C46078
782F40
25C43D
2F783A
C43959
Split Complementary
93C460
577835
782F40
39C49D
297861
Double Split Complementary
5A783B
782F40
237860
6E2978
784435
Square
78683b
782F40
237830
293978
782337
Compound
DEBAAF
782F40
5D8555
70AB32
AB4D32
Shades
C44D69
782F40
853447
5E2532
38161E

## Slide 35
B135 Stage Right
A105
A105
B135 Stage Left
B135
B134, A105
B136